INDIVIDUAL DYNAMOMETER QUALIFICATION REPORT

Facility Inspected – Company:

Dynamometer Identification:

Dynamometer Manufacturer:

Control System  		Computer			Mechanical

Dynamometer Operation to F.M.V.S.S. 121 (Witnessed by Inspector):

Cycle			Witnessed				Comments

Retardation

Fade

Recovery

Cycle Timing Verification (From onset of 1st Fade brake application to onset of 20th Recovery brake application, using verifiable timer or stopwatch):

Measured         seconds

(Acceptance limits 1966 to 1986 seconds)

Inertia Calculation Results	     	Slug-Ft2

(Inertia Acceptance Limits for 20,000 lb GAWR are 812.6 to 845.8 Slug-Ft2 and for 23,000 lb GAWR limits are 934.4 to 972.0 Slug-Ft2)

Calculation From:				Test Witnessed

Prior Test

Attach Data and Calculation

Annual Self Audit Procedures Confirmed

Most Recent Documentation Attached

Annual Self Audit Procedures Reviewed

Satisfactory			Unsatisfactory

Deficiencies: